# Unit 4 – Disinfection and Sterilization

## Case-based MCQ

Question 1
A surgical instrument used in an operation must be completely free of microorganisms including spores.

Which method should be used?
A. High-level disinfection
B. Sterilization
C. Surface cleaning
D. Chemical wiping

Correct Answer: B
Explanation: Sterilization destroys all microorganisms including bacterial spores.

Question 2
A nurse disinfects a contaminated hospital bed using sodium hypochlorite solution.

What type of infection control practice is this?
A. Sterilization
B. High-level disinfection
C. Surface disinfection
D. Surgical asepsis

Correct Answer: C
Explanation: Sodium hypochlorite is commonly used for disinfecting contaminated surfaces.

Question 3
A laboratory technician sterilizes glassware using a hot air oven.

Which sterilization method is this?
A. Moist heat sterilization
B. Chemical sterilization
C. Dry heat sterilization
D. Radiation sterilization

Correct Answer: C
Explanation: Hot air ovens use dry heat to sterilize glassware and metal instruments.

## Puzzle

Question 4
Match sterilization method with application.

A. Autoclave – Surgical instruments
B. Hot air oven – Glassware
C. Chemical disinfectant – Surface cleaning
D. Only A and B are correct

Correct Answer: B
Explanation: Hot air ovens are specifically used for sterilizing glassware.

Question 5
Match disinfectant with its common use.

A. Alcohol – Skin antiseptic
B. Chlorine – Surface disinfectant
C. Glutaraldehyde – Endoscope disinfection
D. Only A and C are correct

Correct Answer: A
Explanation: Alcohol is widely used as a skin antiseptic before injections.

Question 6
Match Spaulding classification with item type.

A. Critical items – Enter sterile tissue
B. Semi‑critical items – Contact mucous membrane
C. Non‑critical items – Contact intact skin
D. Only A and B are correct

Correct Answer: C
Explanation: Non‑critical items contact intact skin and require low‑level disinfection.

## Sequencing

Question 7
Arrange the steps for instrument sterilization.

1. Cleaning
2. Packaging
3. Sterilization
4. Storage

A. 1 → 2 → 3 → 4
B. 2 → 1 → 3 → 4
C. 1 → 3 → 2 → 4
D. 4 → 3 → 2 → 1

Correct Answer: A
Explanation: Instruments must be cleaned, packaged, sterilized, and then stored.

Question 8
Arrange the autoclave process steps.

1. Load instruments
2. Apply steam pressure
3. Maintain sterilization time
4. Remove and cool

Correct Order: 1 → 2 → 3 → 4
Explanation: Autoclaving requires controlled steam pressure and time.

Question 9
Arrange steps for disinfecting hospital surfaces.

1. Wear PPE
2. Prepare disinfectant solution
3. Clean surface
4. Allow contact time

Correct Order: 1 → 2 → 3 → 4
Explanation: PPE and proper solution preparation are essential before cleaning.

## Image-based

Question 10
Image: Autoclave machine.

What is the main function of this equipment?
A. Sterilization using moist heat
B. Chemical disinfection
C. Waste disposal
D. Dry heat sterilization

Correct Answer: A
Explanation: Autoclaves sterilize instruments using steam under pressure.

Question 11
Image: Hot air oven used in laboratory.

Which sterilization method is shown?
A. Radiation sterilization
B. Dry heat sterilization
C. Gas sterilization
D. Chemical sterilization

Correct Answer: B
Explanation: Hot air ovens use dry heat to sterilize glassware.

Question 12
Image: Bottle labeled sodium hypochlorite.

What is its primary purpose in hospitals?
A. Skin antiseptic
B. Surface disinfectant
C. Sterilization
D. Antibiotic

Correct Answer: B
Explanation: Sodium hypochlorite disinfects contaminated surfaces.

## Slider

Question 13
Recommended temperature for autoclave sterilization.

Slider Range: 100 – 150 °C
Correct Value: 121 °C
Explanation: Standard autoclave sterilization occurs at 121°C.

Question 14
Recommended autoclave pressure.

Slider Range: 5 – 30 psi
Correct Value: 15 psi
Explanation: Steam sterilization typically occurs at 15 psi.

Question 15
Recommended autoclave sterilization time.

Slider Range: 5 – 60 minutes
Correct Value: 15 minutes
Explanation: Standard sterilization time is about 15 minutes at 121°C.